## Slide 1
DayWay quick tour
AutoWay quick tour
DayWay SILO quick tour
DayWay STOCK quick tour
CLICK ON REQUIRED TOUR
DayWay DRIVER CONTROL STATION (DCS)
quick tour
DayWay OFFICE quick tour

## Slide 2
DayWay
A quick tour
Department of Fair Trading Approved.
Easy to Use.
Comprehensive History Search.
In-built Tare Book.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Public or Private Use.

## Slide 3
This is the main DayWay screen. The main features are:
Indicator area
1 to 4 platforms
Zero indicator button
Show Net weight button
Next ticket number
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 4
This is the main DayWay screen. The main features are:
Indicator area
Information box
Displays previous weighings
Information during Axle weighing
Operator log-on information
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 5
This is the main DayWay screen. The main features are:
Indicator area
Information box
Button bar
Buttons arranged into:
4 Action buttons
4 Weighing type buttons
Miscellaneous buttons
Use Function Keys or mouse clicks.
F1
F2
F3
F4
F5
F6
F7
F8
F9
F10
F11
F12
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 6
This is the main DayWay screen. The main features are:
Indicator area
Information box
Button bar
Customer information fields
Fields with a yellow
background are mandatory
and are user-defined for
each weighing type.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 7
This is the main DayWay screen. The main features are:
Indicator area
Information box
Button bar
Customer information fields
Multiple tares box
Multiple tares for a vehicle
are shown here and can
be selected for any weighing.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 8
This is the main DayWay screen. The main features are:
Indicator area
Information box
Button bar
Customer information fields
Multiple tares box
Operator and date/time box
Operator initials and
current date and time.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 9
This is the main DayWay screen. The main features are:
Indicator area
Information box
Button bar
Customer information fields
Multiple tares box
Operator and date/time box
Pricing box
Pricing can be set for Automatic
calculation, by weight, for each weighing
type, or manually entered.
GST is calculated automatically.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 10
To perform a TARE only or GROSS only weighing follow these easy steps.
Type the registration of the vehicle (or the first few characters) into the Rego1 box.
Press the ENTER key.
ABC123
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 11
To perform a TARE only or GROSS only weighing follow these easy steps.
Type the registration of the vehicle (or the first few characters) into the Rego1 box.
Press the ENTER key.
If the vehicle has been weighed previously, the last weighing details are displayed. If it has not been weighed before complete each field as required.
Press the TARE or GROSS button (at any time during the weighing) for the weighing type required.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 12
To perform a TARE only or GROSS only weighing follow these easy steps.
Type the registration of the vehicle (or the first few characters) into the Rego1 box.
Press the ENTER key.
If the vehicle has been weighed previously, the last weighing details are displayed. If it has not been weighed before complete each field as required.
Press the TARE or GROSS button (at any time during the weighing) for the weighing type required.
Press the ACCEPT button to print a ticket.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 13
To perform a NET weighing follow these easy steps.
Type the registration of the vehicle (or the first few characters) into the Rego1 box.
Press the ENTER key.
ABC123
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 14
To perform a NET weighing follow these easy steps.
Type the registration of the vehicle (or the first few characters) into the Rego1 box.
Press the ENTER key.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The details of the last weighing are displayed in the information fields.

## Slide 15
To perform a NET weighing follow these easy steps.
Type the registration of the vehicle (or the first few characters) into the Rego1 box.
Press the ENTER key.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The details of the last weighing are displayed in the information fields.
Tare or gross weights, time of weighing and tare time remaining are displayed in the previous weighing information box

## Slide 16
To perform a NET weighing follow these easy steps.
Type the registration of the vehicle (or the first few characters) into the Rego1 box.
Press the ENTER key.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The details of the last weighing are displayed in the information fields.
Tare or gross weights, time of weighing and tare time left are displayed in the previous weighing information box
Press the NET key

## Slide 17
To perform a NET weighing follow these easy steps.
Type the registration of the vehicle (or the first few characters) into the Rego1 box.
Press the ENTER key.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The details of the last weighing are displayed in the information fields.
Tare or gross weights, time of weighing and tare time left are displayed in the previous weighing information box
Press the NET key

## Slide 18
AXLE weighings are just as easy.
Type the registration of the vehicle (or the first few characters) into the Rego1 box.
Press the ENTER key.
BBB987
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 19
AXLE weighings are just as easy.
Type the registration of the vehicle (or the first few characters) into the Rego1 box.
Press the ENTER key.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
If a previous weighing has been performed for this vehicle, the details of the last weighing are displayed in the information fields. If the information fields are blank, complete the details as required.
Press the AXLE key.

## Slide 20
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
AXLE weighings.
Press the Platform and Axle Group buttons for each set of axles
Platform No.
Axle groups

## Slide 21
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
AXLE weighings.
Press the Platform and Axle Group buttons for each set of axles
Press Group OK button

## Slide 22
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
AXLE weighings.
Press the Platform and Axle group buttons for each set of axles
Press Group OK button
If all the axles cannot fit on the bridge, move the vehicle forward and repeat the previous steps
Press Accept button

## Slide 23
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
AXLE weighings.
The Axle Group weights appear in the information box

## Slide 24
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
AXLE weighings.
The Axle Group weights appear in the information box
Press the Accept button

## Slide 25
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Displaying the TARE book in the Department of Fair Trading format is only one button click.
Press the TARE BOOK button.

## Slide 26
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Displaying the TARE book in the Department of Fair Trading format is only one button click.
To print the Tare Book select the dates required and press the PRINT button

## Slide 27
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Finding and displaying tickets is easy in HISTORY.
Select WEIGHING from the History menu bar

## Slide 28
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Finding and displaying tickets is easy in HISTORY.
Select the dates required for the search.

## Slide 29
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Finding and displaying tickets is easy in HISTORY.
Select the dates required for the search.
Select any other criteria, e.g, ticket numbers, etc.

## Slide 30
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Finding and displaying tickets is easy in HISTORY.
Select the dates required for the search.
Select any other criteria ,e.g., ticket numbers, etc.
Press the SEARCH button.

## Slide 31
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Finding and displaying tickets is easy in HISTORY.
Highlight the ticket required by dragging the mouse or using the keyboard arrow keys.

## Slide 32
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Finding and displaying tickets is easy in HISTORY.
To view a ticket double click or press the ENTER key on the highlighted weighing
Highlight the ticket required by dragging the mouse or using the keyboard arrow keys.

## Slide 33
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Finding and displaying tickets is easy in HISTORY.
Tickets can be viewed and copies printed by selecting Print from the menu bar

## Slide 34
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Customer statements can be viewed and printed for any time period.
The statements can be selected by date, customer and/or ticket number.

## Slide 35
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Customer statements can be viewed and printed for any time period.
The statements can be tailor- made for you.

## Slide 36
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay
The easiest to operate PUBLIC AND PRIVATE WEIGHBRIDGE software.
The End

## Slide 37
Hardware & Systems Sales Pty Limited
Standard Weighbridges Pty Limited
Suite 2, 895 Pacific Hwy 31 Mary Pde
Pymble NSW 2073 Rydalmere NSW 2116
Ph: (02) 9983 0873 Ph: (02) 9684 4688
Fax: (02) 9983 0875 Fax: (02) 9684 4699
END

## Slide 38
AutoWay Public
The AutoWay Public system provides the owners of weighbridges the opportunity to generate additional income by allowing 24 hour unattended public weighing. The system uses ‘Smart Card’ technology which is a credit card size device with read and write capabilities, accessed by a card read/writer connected to a personal computer. There are 3 types of cards issued: Account, Prepaid and Retail. There are in excess of 3500 Account and Prepaid cards already issued and Retail cards are being introduced for sale at various outlets including service stations. All administration of accounts is provided by Standard Auto Weigh Pty Ltd in Sydney, who bill customers, collect monies and send payments to weighbridge owners for their AutoWay weighings each month.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 39
AutoWay Private
The AutoWay Private system provides the owners of private weighbridges the opportunity of allowing 24 hour unattended weighing at their site. The system uses ‘Smart Card’ technology which is a credit card size device with read and write capabilities, accessed by a card read/writer connected to a personal computer. Each card can be pre-programmed to provide information about a weighing including operator identification, goods carried, place of despatch, etc. The information is stored in a database at the weighbridge site and can be viewed or uploaded to a remote computer. For owners with multiple sites, the information for each site can be uploaded remotely and merged into one database for further processing.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 40
AutoWay
A quick tour
Department of Fair Trading Approved.
Easy to Use.
View and Retrieve History Remotely.
24 hour Unattended System.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Proximity (SmartCard) Technology.
Run Multiple Jobs (Tally Sheets).

## Slide 41
This is the main AutoWay screen. The main features are:
1 to 4 platforms
Zero indicator button
Print button
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Indicator area

## Slide 42
This is the main AutoWay screen. The main features are:
Start unattended weighing
View and print reports
Job information
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Button array for quick access
Indicator area

## Slide 43
This is the main AutoWay screen. The main features are:
Indicator area
Current date and time
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Button array for quick access
Current date and time fields

## Slide 44
To Start unattended weighing press the UNATTENDED button.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 45
To Start unattended weighing press the UNATTENDED button.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The Unattended button changes to Clear Remote if all system checks are OK.

## Slide 46
To Start unattended weighing press the UNATTENDED button.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
If any major peripheral fails a message is displayed
Ticket printer errors

## Slide 47
To Start unattended weighing press the UNATTENDED button.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
If any major peripheral fails a message is displayed
Ticket printer errors

## Slide 48
To Start unattended weighing press the UNATTENDED button.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
If any major peripheral fails a message is displayed
Ticket printer errors
Smart Card errors

## Slide 49
To Start unattended weighing press the UNATTENDED button.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
If any major peripheral fails a message is displayed
Ticket printer errors
Smart Card errors

## Slide 50
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
This is the display of the remote monitor as viewed by an operator.
User Information area

## Slide 51
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
User Information area
Slider panel which reveals weights and other information.
This is the display of the remote monitor as viewed by an operator.

## Slide 52
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
User Information area
Slider panel which reveals weights and other information.
Animation box showing progress of weighing.
This is the display of the remote monitor as viewed by an operator.

## Slide 53
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.

## Slide 54
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.

## Slide 55
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.

## Slide 56
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.
If the card is valid and has been read successfully, the slider panel opens.
The weights on each platform are revealed

## Slide 57
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.
If the card is valid and has been read successfully, the slider panel opens.
The weights on each platform are revealed

## Slide 58
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.
If the card is valid and has been read successfully, the slider panel opens.
The weights on each platform are revealed

## Slide 59
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.
If the card is valid and has been read successfully, the slider panel opens.
The weights on each platform are revealed

## Slide 60
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.
If the card is valid and has been read successfully, the slider panel opens.
The weights on each platform are revealed

## Slide 61
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.
If the card is valid and has been read successfully, the slider panel opens.
The weights on each platform are revealed
A ticket is printed.

## Slide 62
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.
If the card is valid and has been read successfully, the slider panel opens.
The weights on each platform are revealed
A ticket is printed.
The ticket is presented to the operator.

## Slide 63
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.
If the card is valid and has been read successfully, the slider panel opens.
The weights on each platform are revealed
A ticket is printed.
The ticket is presented to the operator.
When the vehicle leaves the bridge, the slider panel is shut ready for a new weighing.

## Slide 64
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To start a weighing, tap the AutoWay card on the blue target.
The system checks that the card is valid.
If the card is valid and has been read successfully, the slider panel opens.
The weights on each platform are revealed
A ticket is printed.
The ticket is presented to the operator.
When the vehicle leaves the bridge, the slider panel is shut ready for a new weighing.

## Slide 65
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To view HISTORY click on the REPORTS button

## Slide 66
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY SCREEN
Search selection buttons
Order by:
Customer
Key
Ticket

## Slide 67
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY SCREEN
Search selection buttons
Search range
Search for individual
weighing or range
of weighings.

## Slide 68
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY SCREEN
Search selection buttons
Search range
Search through
any date range
Date Range

## Slide 69
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY SCREEN
Search selection buttons
Search range
Date Range
Double click on any weighing to view or reprint the ticket

## Slide 70
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY SCREEN
View a ticket
Ticket can be reprinted
at any time.

## Slide 71
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To set up a JOB
(Tally Sheet)
Select JOB - SETUP in the Setup menu

## Slide 72
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
JOB Setup
This is the Job setup screen

## Slide 73
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
JOB Setup
This is the Job setup screen
Complete the relevant fields

## Slide 74
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
JOB Setup
This is the Job setup screen
Complete the relevant fields

## Slide 75
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
JOB Setup
This is the Job setup screen
Complete the relevant fields
Press the OPEN JOB button to start the job. This can be done at any time.

## Slide 76
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Running a JOB
Tap a JOB allocated
card on the target.

## Slide 77
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Running a JOB
Tap a JOB allocated
card on the target.
The display shows weight, current card NET total
and current JOB total.

## Slide 78
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Running a JOB
Tap a JOB allocated
card on the target.
The display shows weight, current card NET total
and current JOB total.
“Accurate” indicates no tares required.

## Slide 79
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Running a JOB
Tap a JOB allocated
card on the target.
The display shows weight, current card NET total
and current JOB total.
“Accurate” indicates no tares required.
“Estimate” indicates one or more tares required.

## Slide 80
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Viewing a JOB
Press the JOB button.

## Slide 81
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Search selection buttons
Order by:
Customer
Key
Ticket
Viewing a JOB

## Slide 82
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Search selection buttons
Search range
Search for an individual
weighing or range of
weighings.
Viewing a JOB

## Slide 83
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Search selection buttons
Search range
Search through
any date and
time range
Date/Time Range
Viewing a JOB

## Slide 84
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Search selection buttons
Search range
Date/Time Range
Viewing a JOB
Current total net weight
Accurate = No tare required.
Estimate = Tares required.

## Slide 85
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Search selection buttons
Search range
Date/Time Range
Viewing a JOB
Current total net weight
Individual weighing details
Sub-Totals and
Grand Total displayed
according to search
selection criteria.

## Slide 86
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Search selection buttons
Search range
Date/Time Range
Viewing a JOB
Current total net weight
Individual weighing details
Double click any weighing
to view ticket

## Slide 87
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Search selection buttons
Search range
Date/Time Range
Viewing a JOB
Current total net weight
Individual weighing details
Double click any weighing
to view ticket

## Slide 88
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Press the Tares Required button
to view vehicles required to tare.
Viewing a JOB

## Slide 89
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Press the Tares Required button
to view vehicles required to tare.
Viewing a JOB
Key numbers are displayed for
each card.

## Slide 90
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
AutoWay
The easiest to operate UNATTENDED WEIGHBRIDGE software.
The End

## Slide 91
Hardware & Systems Sales Pty Limited
Standard Weighbridges Pty Limited
Suite 2, 895 Pacific Hwy 31 Mary Pde
Pymble NSW 2073 Rydalmere NSW 2116
Ph: (02) 9983 0873 Ph: (02) 9684 4688
Fax: (02) 9983 0875 Fax: (02) 9684 4699
END

## Slide 92
DayWay SILO
A quick tour
Department of Fair Trading Approved.
Easy to Use.
Comprehensive History Search.
Automatic Adjustment of Silo Capacity by Product Type.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Public or Private Use.
Reserve Product or Silo Space.
Quick View of Customer, Silo and Product Details.

## Slide 93
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
This is the main DayWay - Silo screen.
All Standard DayWay public and private weighing features can be performed as normal. (See the DayWay demo for more information).
To operate the Silo module press the SILO button.

## Slide 94
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
This is the Silo selection screen.
The Silo button bar allows selection of the weighing type or Silo option required.

## Slide 95
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The Silo button bar allows selection of the weighing type or Silo option required.
Back to main DayWay screen button
This is the Silo selection screen.

## Slide 96
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The Silo button bar allows selection of the weighing type or Silo option required.
Back to main DayWay screen button
Receivable button
This is the Silo selection screen.

## Slide 97
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The Silo button bar allows selection of the weighing type or Silo option required.
Back to main DayWay screen button
Despatch button
Receivable button
This is the Silo selection screen.

## Slide 98
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The Silo button bar allows selection of the weighing type or Silo option required.
Back to main DayWay screen button
Despatch button
Silo to Silo internal transfer button
Receivable button
This is the Silo selection screen.

## Slide 99
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The Silo button bar allows selection of the weighing type or Silo option required.
Back to main DayWay screen button
Despatch button
Silo to Silo internal transfer button
Reserve product or silo space button
Receivable button
This is the Silo selection screen.

## Slide 100
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The Silo button bar allows selection of the weighing type or Silo option required.
Back to main DayWay screen button
Despatch button
Silo to Silo internal transfer button
Reserve product or silo space button
History button
Receivable button
This is the Silo selection screen.

## Slide 101
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The Silo button bar allows selection of the weighing type or Silo option required.
Back to main DayWay screen button
Manual entry of weights button
Despatch button
Silo to Silo internal transfer button
Reserve product or silo space button
History button
Receivable button
This is the Silo selection screen.

## Slide 102
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The Silo button bar allows selection of the weighing type or Silo option required.
Back to main DayWay screen button
Manual entry of weights button
Despatch button
Silo to Silo internal transfer button
Reserve product or silo space button
History button
Receivable button
Show or print user-designed reports button
This is the Silo selection screen.

## Slide 103
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
RECEIVE BUTTON

## Slide 104
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Silo Screen
GENERAL OVERVIEW
Receivable Screen
Sample button
This screen

## Slide 105
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Sample button
Customer detail button
View or set
customer details
Silo Screen
GENERAL OVERVIEW
Receivable Screen

## Slide 106
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Sample button
Customer detail button
Silo Screen
GENERAL OVERVIEW
View or set
silo details
Silo button
Receivable Screen

## Slide 107
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Sample button
Customer detail button
Silo Screen
GENERAL OVERVIEW
Silo button
Comments button
View or edit
comments
Receivable Screen

## Slide 108
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Sample button
Customer detail button
Silo Screen
GENERAL OVERVIEW
Silo button
Comments button
Back to DayWay button
Receivable Screen

## Slide 109
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Sample button
Customer detail button
Silo Screen
GENERAL OVERVIEW
Silo button
Comments button
Back to DayWay button
Testing and analysis fields
Testing results
Receivable Screen

## Slide 110
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DESPATCH BUTTON

## Slide 111
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Silo Screen
GENERAL OVERVIEW
Despatch Screen
Same as Receivable screen

## Slide 112
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
TRANSFER BUTTON

## Slide 113
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Silo Screen
GENERAL OVERVIEW
Transfer Screen
Transfer details
Product, customer and
silo details for transfer.
System accepts transfers
between multiple sites.

## Slide 114
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Silo Screen
GENERAL OVERVIEW
Transfer Screen
Transfer details
Silo details
Silo details showing
silo capacity, reserved
space and reserved
product.

## Slide 115
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
RESERVE BUTTON

## Slide 116
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Silo Screen
GENERAL OVERVIEW
Reserve Product Screen
Reserve details
Reserve either space
or product for any
customer.

## Slide 117
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Silo Screen
GENERAL OVERVIEW
Reserve Product Screen
Reserve details
Silo details
Silo details showing
silo capacity, all
reserved space and
reserved product.

## Slide 118
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY BUTTON

## Slide 119
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Silo Screen
GENERAL OVERVIEW
Quick access to comprehensive
historical weighings and product
movement
History Screen
Details of each weighing

## Slide 120
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Silo Screen
GENERAL OVERVIEW
Quick access to comprehensive
historical weighings and product
movement
History Screen
Overview of totals for each silo,
products owned by each customer
and silos allocated to each product.

## Slide 121
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
MANUAL BUTTON

## Slide 122
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Silo Screen
GENERAL OVERVIEW
Allows manual entry of weights
for any weighing type and any
site
Manual Button
Date and time
can be edited.

## Slide 123
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
REPORT BUTTON

## Slide 124
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Silo Screen
GENERAL OVERVIEW
User-defined reports can be
easily viewed or printed using
Crystal Reports report writer.
Report Button
Easy selection
of required
report.

## Slide 125
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a Receivable or Despatch weighing
Press the Receive or Despatch
button.

## Slide 126
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Complete the information fields.
To perform a Receivable or Despatch weighing

## Slide 127
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Complete the information fields.
To perform a Receivable or Despatch weighing

## Slide 128
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Complete the information fields.
To perform a Receivable or Despatch weighing
Press the HOLD button to save the current weight and information fields.
An LIS (Loader Information Sheet) can be printed at this time for information to ground staff

## Slide 129
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Complete the information fields.
To perform a Receivable or Despatch weighing
Press the HOLD button to save the current weight and information fields.
The weights and details are saved.

## Slide 130
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Complete the information fields.
To perform a Receivable or Despatch weighing
Press the HOLD button to save the current weight and information fields.
The weights and details are saved.
Press the EXTRACT button at any time to view the weighing and edit or add testing results.

## Slide 131
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Complete the information fields.
To perform a Receivable or Despatch weighing
Press the HOLD button to save the current weight and information fields.
The weights and details are saved.
Press the EXTRACT button at any time to view the weighing and edit or add testing results.
Press the HOLD button to save any changes.

## Slide 132
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Complete the information fields.
To perform a Receivable or Despatch weighing
Press the HOLD button to save the current weight and information fields.
The weights and details are saved.
Press the EXTRACT button at any time to view the weighing and edit or add testing results.
Press the HOLD button to save any changes.

## Slide 133
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a Receivable or Despatch weighing
To complete the weighing :
Type the registration in the REGO-1 field or press the EXTRACT button and select the relevant weighing.
ABC123

## Slide 134
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a Receivable or Despatch weighing
To complete the weighing :
Type the registration in the REGO-1 field or press the EXTRACT button and select the relevant weighing.

## Slide 135
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a Receivable or Despatch weighing
To complete the weighing :
Type the registration in the REGO-1 field or press the EXTRACT button and select the relevant weighing.
Confirm all details are correct.

## Slide 136
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a Receivable or Despatch weighing
To complete the weighing :
Type the registration in the REGO-1 field or press the EXTRACT button and select the relevant weighing.
Press the NET button
Confirm all details are correct.

## Slide 137
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a Receivable or Despatch weighing
To complete the weighing :
Type the registration in the REGO-1 field or press the EXTRACT button and select the relevant weighing.
A docket is printed and databases updated with new weighing details
Confirm all details are correct.
Press the NET button

## Slide 138
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Press the SILO button

## Slide 139
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Press the SILO button
Press the TRANSFER button

## Slide 140
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Select the owner of the product from the customer name or code list.

## Slide 141
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Select the owner of the product from the customer name or code list.
Complete the remaining details

## Slide 142
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Select the owner of the product from the customer name or code list.
Complete the rest of the details
Press the HOLD button

## Slide 143
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Type the registration in the REGO-1 field or press the EXTRACT button and select the relevant weighing.
ABC123
To perform a TRANSFER
To complete the weighing :

## Slide 144
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Type the registration in the REGO-1 field or press the EXTRACT button and select the relevant weighing.
To complete the weighing :
Confirm all details are correct.

## Slide 145
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Type the registration in the REGO-1 field or press the EXTRACT button and select the relevant weighing.
To complete the weighing :
Confirm all details are correct.
Press the NET button.

## Slide 146
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Type the registration in the REGO-1 field or press the EXTRACT button and select the relevant weighing.
To complete the weighing :
Confirm all details are correct.
Press the NET button.
A TRANSFER docket is printed.

## Slide 147
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a RESERVE
Press the SILO button

## Slide 148
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Press the SILO button
Press the RESERVE button
To perform a RESERVE

## Slide 149
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Select the owner of the product from the customer name or code list.
To perform a RESERVE

## Slide 150
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Select the owner of the product from the customer name or code list.
Complete the rest of the details
To perform a RESERVE
Complete the reserved amount

## Slide 151
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Select the owner of the product from the customer name or code list.
Complete the rest of the details
To perform a RESERVE
Select either SPACE or PRODUCT

## Slide 152
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Select the owner of the product from the customer name or code list.
Complete the rest of the details
To perform a RESERVE
Select either SPACE or PRODUCT
Press the ACCEPT button

## Slide 153
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay
The easiest to operate BULK PRODUCT WEIGHBRIDGE software.
The End
SILO

## Slide 154
Hardware & Systems Sales Pty Limited
Standard Weighbridges Pty Limited
Suite 2, 895 Pacific Hwy 31 Mary Pde
Pymble NSW 2073 Rydalmere NSW 2116
Ph: (02) 9983 0873 Ph: (02) 9684 4688
Fax: (02) 9983 0875 Fax: (02) 9684 4699
END

## Slide 155
DayWay STOCK
A quick tour
Easy to Use.
Touch Screen Technology for Fast Through-put of Product.
Comprehensive History Search.
Automatic Stock Adjustment of Moisture by Product Type.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Bulk Product Handling for Any Production Facility.
Easy Stock Adjustments.
Quick View of Production, Stock and Delivery Details.
Multiple Stores and Sites.

## Slide 156
This is the main DayWay STOCK screen. The main features are:
Indicator area
1 to 4 platforms
Zero indicator button
Show Net weight button
Next ticket number
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 157
This is the main DayWay STOCK screen. The main features are:
Indicator area
Information box
Displays previous weighings
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh

## Slide 158
This is the main DayWay STOCK screen. The main features are:
Indicator area
Information box
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Tare button

## Slide 159
This is the main DayWay STOCK screen. The main features are:
Indicator area
Information box
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Tare button
Gross button

## Slide 160
This is the main DayWay STOCK screen. The main features are:
Indicator area
Information box
Receive raw material
from supplier.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Tare button
Gross button
Receive button

## Slide 161
This is the main DayWay STOCK screen. The main features are:
Indicator area
Information box
Despatch finished
product to customer.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Tare button
Gross button
Receive button
Despatch button

## Slide 162
This is the main DayWay STOCK screen. The main features are:
Indicator area
Information box
Transfer from production
to a stockpile or between
stockpiles.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Tare button
Gross button
Receive button
Despatch button
Transfer button

## Slide 163
This is the main DayWay STOCK screen. The main features are:
Indicator area
Information box
Refine one product
to another product.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Tare button
Gross button
Receive button
Despatch button
Transfer button
Rescreen or Reprocess button

## Slide 164
This is the main DayWay STOCK screen. The main features are:
Indicator area
Information box
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Tare button
Gross button
Receive button
Despatch button
Transfer button
Rescreen or Reprocess button
History button

## Slide 165
This is the main DayWay STOCK screen. The main features are:
Indicator area
Information box
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Tare button
Gross button
Receive button
Despatch button
Transfer button
Rescreen or Reprocess button
History button
Job (tally sheet) button

## Slide 166
This is the main DayWay STOCK screen. The main features are:
Indicator area
Information box
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Tare button
Gross button
Receive button
Despatch button
Transfer button
Rescreen or Reprocess button
History button
Job (tally sheet) button
Driver Control Station on-line indicator

## Slide 167
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Press the GROSS or TARE button.
To perform a Receivable or Despatch weighing

## Slide 168
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Press the GROSS or TARE button.
To perform a Receivable or Despatch weighing
Press the DESPATCH or
RECEIVE button.

## Slide 169
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Press the GROSS or TARE button.
To perform a Receivable or Despatch weighing
Press the DESPATCH or
RECEIVE button.
Complete the information fields.

## Slide 170
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Press the GROSS or TARE button.
To perform a Receivable or Despatch weighing
Press the DESPATCH or
RECEIVE button.
Complete the information fields.
Press the HOLD button.
The current weight and
weighing information is
saved.

## Slide 171
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Press the GROSS or TARE button.
To perform a Receivable or Despatch weighing
Press the DESPATCH or
RECEIVE button.
Complete the information fields.
Press the HOLD button.
The held weight is confirmed.

## Slide 172
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To complete the weighing:
To perform a Receivable or Despatch weighing
Type the registration number in
the Rego1 field and press the
ENTER key on the keyboard.
ABC123

## Slide 173
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To complete the weighing:
To perform a Receivable or Despatch weighing
Type the registration number in
the Rego1 field and press the
ENTER key on the keyboard.
The previous weighing details
are displayed

## Slide 174
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To complete the weighing:
To perform a Receivable or Despatch weighing
Press the NET button.
Type the registration number in
the Rego1 field and press the
ENTER key on the keyboard.
The previous weighing details
are displayed

## Slide 175
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To complete the weighing:
To perform a Receivable or Despatch weighing
Press the NET button.
Type the registration number in
the Rego1 field and press the
ENTER key on the keyboard.
The previous weighing details
are displayed
A docket is printed, the details are
stored and stockpile databases are
updated with the current net weight.

## Slide 176
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Press the TRANSFER button

## Slide 177
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Press the TRANSFER button
Complete the information fields.
(In this case, a previous tare was
found and can be used for this
weighing).

## Slide 178
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Press the TRANSFER button
Complete the information fields.
(In this case, a previous tare was
found and can be used for this
weighing).
Press the NET button and confirm
that all details are correct.

## Slide 179
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a TRANSFER
Press the TRANSFER button
Complete the information fields.
(In this case, a previous tare was
found and can be used for this
weighing).
Press the NET button and confirm
that all details are correct.
A docket is printed and the details
stored. The stockpile and production
databases are updated with the current
net weight.

## Slide 180
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Press the RESCREEN button.
To perform a
RE-SCREEN

## Slide 181
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To perform a
RE-SCREEN
Press the RESCREEN button.
Complete the information fields.
(In this case, a previous tare was
found and can be used for this
weighing).

## Slide 182
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Complete the information fields.
(In this case, a previous tare was
found and can be used for this
weighing).
Press the NET button and confirm
that all details are correct.
To perform a
RE-SCREEN
Press the RESCREEN button.

## Slide 183
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Complete the information fields.
(In this case, a previous tare was
found and can be used for this
weighing).
Press the NET button and confirm
that all details are correct.
A docket is printed and the details
stored. The stockpile databases are
updated with the current net weight.
To perform a
RE-SCREEN
Press the RESCREEN button.

## Slide 184
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To view HISTORY
Press the HISTORY button

## Slide 185
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To view HISTORY
Select the required dates and
“Sort By” criteria.
Date FROM and TO

## Slide 186
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To view HISTORY
Select the required dates and
“Sort By” criteria.
SORT BY selection

## Slide 187
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To view HISTORY
Select the required dates and
“Sort By” criteria.
Press the category button for
the search.

## Slide 188
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
To view HISTORY
Select the required dates and
“Sort By” criteria.
Press the category button for
the search.

## Slide 189
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
Double click on the required weighing.
View a DOCKET

## Slide 190
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
Double click on the required weighing.
View a DOCKET
The docket is displayed.
Press the HISTORY button for
more information about the weighing.

## Slide 191
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
Double click on the required weighing.
View a DOCKET
The docket is displayed.
Press the HISTORY button for
more information about the weighing.

## Slide 192
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
View PRODUCTION
Select PRODUCTION from
HISTORY menu.

## Slide 193
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
View PRODUCTION
Select PRODUCTION from
HISTORY menu.
Select date period

## Slide 194
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
View PRODUCTION
Select PRODUCTION from
HISTORY menu.
Select sort criteria
Select date period

## Slide 195
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
View PRODUCTION
Select PRODUCTION from
HISTORY menu.
Select sort criteria
Select date period
Start the search with either the
DAILY or RANGE button
Production totals can
be viewed on a daily
or selected range basis
for any time period.
This view is by
RANGE

## Slide 196
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
View PRODUCTION
Select PRODUCTION from
HISTORY menu.
Select sort criteria
Select date period
Start the search with either the
DAILY or RANGE button
This view is by
DAILY
Production totals can
be viewed on a daily
or selected range basis
for any time period.

## Slide 197
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
View MOVEMENTS
Select MOVEMENTS from
HISTORY menu.

## Slide 198
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
Select date period
View MOVEMENTS
Select MOVEMENTS from
HISTORY menu.

## Slide 199
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
Select sort criteria
Select date period
View MOVEMENTS
Select MOVEMENTS from
HISTORY menu.

## Slide 200
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
Select sort criteria
Select date period
Start the search with the
MOVEMENT BY RANGE button
This view is by
RANGE
View MOVEMENTS
Select MOVEMENTS from
HISTORY menu.
Movement totals can
be viewed on a daily
or selected range basis
for any time period.

## Slide 201
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
HISTORY
Select sort criteria
Select date period
View MOVEMENTS
Select MOVEMENTS from
HISTORY menu.
Press the CURRENT STOCK
button to view all stock
Start the search with the
MOVEMENT BY RANGE button

## Slide 202
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The easiest to operate BULK PRODUCT WEIGHBRIDGE software.
The End
DayWay
STOCK

## Slide 203
Hardware & Systems Sales Pty Limited
Standard Weighbridges Pty Limited
Suite 2, 895 Pacific Hwy 31 Mary Pde
Pymble NSW 2073 Rydalmere NSW 2116
Ph: (02) 9983 0873 Ph: (02) 9684 4688
Fax: (02) 9983 0875 Fax: (02) 9684 4699
END

## Slide 204
Driver Control Station (DCS)
A quick tour
Compatible with Other DayWay Stock Software.
Easy to Use.
Comprehensive User Setup.
Customer and Driver Identification.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Fast Touch Screen Technology.

## Slide 205
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
The DCS interfaces with all DayWay bulk handling software. The touch screen and associated electronics are enclosed in a weather proof housing and can be mounted on a post adjacent to the weighbridge.
The system initially requires input from a driver of identification of company (fleet number) and driver number (not mandatory). If the system confirms the fleet number is valid, the driver can then choose from various product movement options. These options can be configured in the DCS setup menu to allow only options and products relevant to the fleet number to be seen.

## Slide 206
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
To start a weighing, touch the
screen to bring up the key pad.

## Slide 207
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
To start a weighing, touch the
screen to bring up the key pad.
Key in the fleet number and
driver number.
802099 keyed in
8020=Fleet No.
99=Default driver
No.

## Slide 208
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
To start a weighing, touch the
screen to bring up the key pad.
Key in the fleet number and
driver number.
Press the required function.

## Slide 209
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS Receive
Touch the RECEIVE button

## Slide 210
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS RECEIVE
Touch the RECEIVE button.
Touch the product type button

## Slide 211
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
Touch the RECEIVE button.
Touch the product type button
The details of the transaction and
current weight are displayed.
Press the ACCEPT button to
record the GROSS weight.
DCS RECEIVE

## Slide 212
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
On delivery of product,
return to weighbridge and
TARE OFF.
DCS RECEIVE

## Slide 213
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
To TARE OFF:
Enter the fleet number and driver
number.
DCS RECEIVE

## Slide 214
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
To TARE OFF:
Enter the fleet number and driver
number.
Press the TARE button.
DCS RECEIVE

## Slide 215
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
To TARE OFF:
Enter the fleet number and driver
number.
Press the TARE button.
The details of the NET weighing
are shown and a docket printed.
DCS RECEIVE

## Slide 216
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS DESPATCH
TARE OFF first
Press the TARE button.

## Slide 217
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS DESPATCH
Press the TARE button.
Press the ACCEPT button.
The TARE weight is shown

## Slide 218
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS DESPATCH
Press the TARE button.
The TARE weight is recorded.
The TARE weight is shown
Press the ACCEPT button.

## Slide 219
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS DESPATCH
NET OFF
Press the DESPATCH button.

## Slide 220
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS DESPATCH
NET OFF
Press the DESPATCH button.
Enter the CUSTOMER code

## Slide 221
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS DESPATCH
NET OFF
Press the DESPATCH button.
Enter the CUSTOMER code.
(In this case 820)

## Slide 222
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS DESPATCH
NET OFF
Press the DESPATCH button.
Enter the CUSTOMER code.
Select the product.
Products which can be
selected are limited for
each customer code.

## Slide 223
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS DESPATCH
NET OFF
Press the DESPATCH button.
Enter the CUSTOMER code.
Select the product.
Select source. (From production line
[BIN] or from stock pile [GROUND].

## Slide 224
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS DESPATCH
NET OFF
Press the DESPATCH button.
Enter the CUSTOMER code.
Select the product.
Select source. (From production line
[BIN] or from stock pile [GROUND].
Despatch details are displayed with
current GROSS. Press ACCEPT.

## Slide 225
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS DESPATCH
NET OFF
Press the DESPATCH button.
Enter the CUSTOMER code.
Select the product.
Select source. (From production line
[BIN] or from stock pile [GROUND].
Despatch details are displayed with
current GROSS.
The DESPATCH weighing is recorded and
a docket printed.

## Slide 226
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS TRANSFER
Press the TRANSFER button.

## Slide 227
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS TRANSFER
Press the TRANSFER button.
Select the product.
Press MORE to see more products

## Slide 228
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS TRANSFER
Press the TRANSFER button.
Select the product.
The TRANSFER details are
displayed. Press the ACCEPT
button.

## Slide 229
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DCS
DCS TRANSFER
Press the TRANSFER button.
Select the product.
The TRANSFER details are
displayed. Press the ACCEPT
button.
The TRANSFER weighing is
recorded and a docket printed.

## Slide 230
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The easiest to operate DRIVER CONTROL STATION software.
The End
DayWay
DCS

## Slide 231
Hardware & Systems Sales Pty Limited
Standard Weighbridges Pty Limited
Suite 2, 895 Pacific Hwy 31 Mary Pde
Pymble NSW 2073 Rydalmere NSW 2116
Ph: (02) 9983 0873 Ph: (02) 9684 4688
Fax: (02) 9983 0875 Fax: (02) 9684 4699
END

## Slide 232
DayWay OFFICE
A quick tour
Combine attended and unattended systems.
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
Unlimited batching to accounting system.
Easy to Use.
Unlimited weighbridge sites.
Make single or bulk changes to price or account name.
History of each months weighings and batches.
Statements can be viewed or issued for any time period.
User selectable totals of cost or net weight .

## Slide 233
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
DATE sort

## Slide 234
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
TICKET sort

## Slide 235
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
CUSTOMER sort

## Slide 236
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
USER Defined sort

## Slide 237
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Select sort by
any field

## Slide 238
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.

## Slide 239
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Date Range

## Slide 240
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Range limits

## Slide 241
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
User setup column order

## Slide 242
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Select column
order name

## Slide 243
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Weighbridge Site

## Slide 244
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Select weighbridge
name

## Slide 245
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Function buttons.
Merge data button

## Slide 246
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Function buttons.
Press accept to merge
data from selected date
period and weighbridge
sites into OFFICE
database

## Slide 247
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Function buttons.
History button

## Slide 248
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Function buttons.
Press Accept to view
selected history month
and year

## Slide 249
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Function buttons.
Totals button

## Slide 250
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Function buttons.

## Slide 251
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Function buttons.
BATCH button

## Slide 252
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Function buttons.

## Slide 253
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Function buttons.
View batched, non-batch
or all records

## Slide 254
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
This is the main OFFICE screen. The main features are:
Sort buttons.
Range tabs.
Function buttons.
Record counter

## Slide 255
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a weighing
Select the record.

## Slide 256
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a weighing
Select the record.
Double click using the mouse or press the ENTER key.

## Slide 257
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a weighing
Select the record.
Double click using the mouse or press the ENTER key.
The actual ticket issued is
displayed.

## Slide 258
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a weighing
Select the record.
Double click using the mouse or press the ENTER key.
The actual ticket issued is
displayed.

## Slide 259
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a weighing
Select the record.
Double click using the mouse or press the ENTER key.
The actual ticket issued is
displayed.
AXLE tickets look different.

## Slide 260
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a weighing
Select the record.
Double click using the mouse or press the ENTER key.
The actual ticket issued is
displayed.
AXLE tickets look different.

## Slide 261
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a weighing
Select the record.
Double click using the mouse or press the ENTER key.
The actual ticket issued is
displayed.
Select ZOOM to decrease the
ticket size.

## Slide 262
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a weighing
Select the record.
Double click using the mouse or press the ENTER key.
The actual ticket issued is
displayed.
Select ZOOM to decrease the
ticket size.

## Slide 263
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a weighing
Select the record.
Double click using the mouse or press the ENTER key.
The actual ticket issued is
displayed.
Select ZOOM to decrease the
ticket size.

## Slide 264
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a weighing
Select the record.
Double click using the mouse or press the ENTER key.
The actual ticket issued is
displayed.
Select ZOOM to decrease the
ticket size.

## Slide 265
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To change the price of
a weighing
Select the record.

## Slide 266
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To change the price of
a weighing
Select the record.

## Slide 267
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To change the price of
a weighing
Select the record.
Right hand click the mouse.

## Slide 268
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To change the price of
a weighing
Select the record.
Right hand click the mouse.
Click CHANGE PRICE.
Select the new price.

## Slide 269
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To change the price of
a weighing
Select the record.
Right hand click the mouse.
Click CHANGE PRICE.
Select the new price.
The new price is applied.

## Slide 270
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To transfer a charge to an other customer
Select the record.

## Slide 271
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
Select the record.
To transfer a charge to an other customer

## Slide 272
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
Select the record.
Right hand click the mouse.
To transfer a charge to an other customer

## Slide 273
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
Select the record.
Right hand click the mouse.
Click TRANSFER CHARGE.
Select the customer.
To transfer a charge to an other customer

## Slide 274
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
Select the record.
Right hand click the mouse.
Click TRANSFER CHARGE.
Select the customer.
The transfer is applied.
To transfer a charge to an other customer

## Slide 275
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To perform a BATCH
Press the VIEW BATCH button.

## Slide 276
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To perform a BATCH
Press the VIEW BATCH button.
Press the BATCH button.

## Slide 277
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To perform a BATCH
Press the VIEW BATCH button.
Press the BATCH button.
Confirm the batch details are
correct and press the OK button.

## Slide 278
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To perform a BATCH
Press the VIEW BATCH button.
Press the BATCH button.
Confirm the batch details are
correct and press the OK button.
The batch is created in the
transfer file name file.

## Slide 279
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view statistics
Press the FINANCIALS button.

## Slide 280
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view statistics
Press the FINANCIALS button.
[ Totals of either net weights or
cost for the selected time period
are displayed.
(Cost values are shown here). ]

## Slide 281
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view statistics
Press the FINANCIALS button.
To select an individual weighbridge
Press the WEIGHBRIDGE down
arrow, select the weighbridge and
press the SET button.

## Slide 282
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view statistics
Press the FINANCIALS button.
To select an individual weighbridge
Press the WEIGHBRIDGE down
arrow.
The totals for the selected
weighbridge are shown.
To view statistics press the STATS button.

## Slide 283
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a statement
Select REPORTS - CUSTOMERS
from the main menu bar.

## Slide 284
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a statement
Select REPORTS - CUSTOMERS
from the main menu bar.
Confirm the report criteria
and press OK.

## Slide 285
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
DayWay Office
To view a statement
Select REPORTS - CUSTOMERS
from the main menu bar.
Confirm the report criteria
and press OK.
Move through the statements
forwards or backwards, using the
navigator arrows.

## Slide 286
<footer>Hardware & Systems Sales Pty Limited
Standard Auto Weigh
The easiest to operate software.
The End
DayWay
OFFICE

## Slide 287
Hardware & Systems Sales Pty Limited
Standard Weighbridges Pty Limited
Suite 2, 895 Pacific Hwy 31 Mary Pde
Pymble NSW 2073 Rydalmere NSW 2116
Ph: (02) 9983 0873 Ph: (02) 9684 4688
Fax: (02) 9983 0875 Fax: (02) 9684 4699
END